KİMYASAL MALZEME TEKNİK ŞARTNAMESİ

İstenilen ürünlere ait analiz sertifikaları ve MSDS belgeleri fiyat teklifiyle birlikte kesinlikle sunulmalıdır. Ürünlerin şartnameye uygunluğuna analiz sertifikaları incelenerek karar verileceği için analiz sertifikası olmayan teklifler değerlendirilmeyecektir.

Belirtilen saflık ve özellik dışında teklif edilen ürünler kesinlikle kabul edilmeyecektir.

Malzemeler orijinal ambalajlarında teslim edilmelidir.

İstekli alımda fiyat teklifi verdiği tüm ürünler için marka ve kod belirtmek zorundadır.

Tüm ürünler tek seferde teslim edilmelidir.

Tüm kimyasal ve standart malzemeler akreditasyon uygulamaları kullanıma uygun olmalıdır.

Ambalaj etiketi ambalajdan kolay ayrılmamalıdır.

Toksik, yanıcı, patlayıcı ve benzeri riskleri taşıyan maddelerin ambalajı üzerinde riskleri belirleyici güvenlikle ilgili uyarılar bulunmalıdır.

Ambalaj dış etkilerden maddeyi koruduğu gibi, dış ortama da koku vb. vermeyecek nitelikte olmalıdır.

Ürünlerin son kullanım tarihleri teslim tarihinden itibaren en az 24 ay olmalıdır.

Ürünler teslim edildikten sonra farklı veya istenmeyen özellikler saptanırsa, ürün bozuk çıkar veya alımdan sonra kullanıcı hatası dışında uygun sonuç vermezse acilen değiştirilmesi istenebilecektir. Değiştirilmesi istenen ürünler en fazla 10 iş günü içinde değiştirilmelidir.

Borane-ammonia complex technical grade, 90% 1 G

- Grade technical grade

- Assay 90%

- Form solid

- Reaction suitability reagent type: reductant

Offset solution 2.5 L

- grade ACS reagent for analytical purposes for extraction reagent grade

- Quality Level 300

- Agency reag. ISO reag. Ph. Eur.

- vapor pressure 59 hPa ( 20 °C)

- product line EMSURE®

- Assay ≥99.9% (GC)

- Form liquid

- Potency 6200 mg/kg LD50, oral (Rat)

Diethylene glycol, 1 l, plastic ≥99 %, for synthesis

- Empirical formula C4H10O3

- Molar mass (M) 106,12 g/mol

- Density (D) 1,12 g/cm³

- Boiling point (bp) 244,9 °C

- Flash point (flp) 138 °C

- Melting point (mp) -6,5 °C

- WGK 1

- CAS No. 111-46-6

- EG-Nr. 203-872-2

L-Proline >99.0%(T)(HPLC) 25 G

- Purity / Analysis Method	>99.0%(T)(HPLC)

- Molecular Formula / Molecular Weight C5H9NO2 = 115.13

- Physical State (20 deg.C)	Solid

- Storage Temperature Room Temperature (Recommended in a cool and dark place, <15°C)

- CAS RN 147-85-3

- Reaxys Registry Number	80810

- PubChem Substance ID 87574669

Silica, mesostructured SBA-15, 99% trace metals basis 5 G

- Quality Level 100

- Assay 99% trace metals basis

- Form solid

- Bp 2230 °C (lit.)

- Mp >1600 °C (lit.)

- application(s) battery manufacturing

Zinc 2-methylimidazole MOF (ZIF-8) 1 G

- Sum formula C8H10N4Zn

- Molecular weight 227.58 g/mol

- CAS NO 59061-53-9

Ruthenium(III) chloride hydrate 1 G

- product line

- form powder and chunks

- composition Degree of hydration, ≤1 Ruthenium content, 40.00-49.00%

- reaction suitability reagent type: catalyst core: ruthenium

- impurities ≤0.1% Insoluble matter (C=1%, 25% HCl)

Rhodium(III) chloride 98% 500 MG

- Assay 98%

- Form crystalline

- reaction suitability reagent type: catalyst core: rhodium

- SMILES string Cl[Rh](Cl)Cl

Acetone, RPE - For analysis - ISO - ACS - Reag.Ph.Eur. – Reag.USP 2.5 L

- Description Clear liquid

- Colour <= 10 APHA

- Identification (I.R.) Positive

- Water solubility Conform

- Density at 20?C 0.790 - 0.792

- Refractive index at 20?C 1.3581 - 1.3601

- Boiling point 55.8 - 56.3 ?C

- Water (K.F.) <= 0.2 %

- Residue after evaporation <= 10 ppm

- Acidity <= 0.0003 meq/g

- Alcalinity <= 0.0006 meq/g

- Ethanol <= 100 ppm

- 2-Propanol <= 500 ppm

- Methanol <= 500 ppm

- Aldehydes <= 10 ppm

- Heavy metals (as Pb) <= 0.2 ppm

- Subs. reducing KMnO4 <= 2 ppm

- Al <= 0.5 ppm

- B <= 0.1 ppm

- Ba <= 0.1 ppm

- Ca <= 0.5 ppm

- Co <= 0.05 ppm

- Cr <= 0.02 ppm

- Cu <= 0.01 ppm

- Fe <= 0.1 ppm

- Mg <= 0.02 ppm

- Ni <= 0.01 ppm

- Pb <= 0.01 ppm

- Sn <= 0.1 ppm

- Zn <= 0.2 ppm

- Assay (GC) >= 99.8 %

- Related substances (GC) Conform -

- Benzene <= 2 ppm

- Diacetyl alcohol <= 500 ppm

Lithium aluminum hydride powder, reagent grade, 95% 10 G

- Grade reagent grade

- Quality Level 200

- Assay 95%

- Form powder

- reaction suitability reagent type: reductant

Tetrahydrofuran, RPE - For analysis - ACS - Reag.Ph.Eur. – Reag.USP - Stabilized with BHT 2.5 L

- Description Clear colourless liquid

- Colour <= 10 APHA

- Identification (I.R.) Conform

- Density d20/4 0.885 - 0.893

- Refractive index at 20?C 1.4040 - 1.4100

- Boiling point 64.0 - 65.0 ?C

- Water (K.F.) <= 150 ppm

- Residue on evaporation <= 300 ppm

- Acidity (acetic acid) <= 20 ppm

- Alcalinity (NH3) <= 7 ppm

- Peroxide (as H2O2) <= 20 ppm

- Al <= 0.5 ppm

- Ba <= 0.1 ppm

- Ca <= 0.5 ppm

- Cd <= 0.05 ppm

- Co <= 0.02 ppm

- Cu <= 0.02 ppm

- Fe <= 0.1 ppm

- Mg <= 0.1 ppm

- Mn <= 0.02 ppm

- Ni <= 0.02 ppm

- Pb <= 0.1 ppm

- Sn <= 0.1 ppm

- Zn <= 0.1 ppm

- Assay (GC) >= 99.9 %

- Stabilizer (ionol) 200 - 350 ppm

- Non volatile residue (without stab.) <= 10 ppm

Sodium borohydride, RE - Pure - Powder 50 G

- Description White powder -

- Identification (I.R.) Positive -

- Assay (oxydimetric) >= 95 %

HYDROGEN PEROXIDE 35% EXTRA PURE 2.5 L

- Physical state : Liquid

- Appearance : Liquid.

- Molecular mass : Not applicable

- Colour : Colourless.

- Odour : Irritating/pungent odour.

- pH : 1 – 4

- Melting point : -33 °C

- Boiling point : 108 °C

- Vapour pressure : 12 hPa (20 °C, %50 H2O2)

- Relative density : 1.13 g/cm3 (20 °C)

- Density : 1.13 g/cm3 (20 °C)

- Solubility : Soluble in water. Soluble in ethanol. Soluble in ether.

- Water: complete

- Log Pow : -1.1

- Viscosity, dynamic : 1.249 mPa·s (20 °C, Pure substance)

Numune Kabı, Plastik, PS, Hacim 30 ml (50 ADET)

- Ebat Ø34 x 41 mm

- Hacim 30 ml

- Sterilizasyon Non-Steril

- Paketinde 50 adet bulunmaktadır